## Sheet1
NORDEN 2MP BULLET CAMERA - 5,789
NORDEN 2MP DOME CAMERA - 41
NORDEN 4MP BULLET CAMERA - 37
NORDEN 2MP DOME CAMERA - 86
NORDEN 32 Input and 32 Output Channel Video Recorder For Cctv System - 177
NORDEN 64 Input and 64 Output Channel Video Recorder For Cctv System - 70
NORDEN Network Attached Storage (NAS) Device, On Site OEM Warranty 5
NORDEN Network Attached Storage (NAS) Device, On Site OEM Warranty 5
NORDEN Network Attached Storage (NAS) Device, On Site OEM Warranty 5
NETGEAR 8 Ports Managed PoE+ Layer 2 Access Switch - 1,327
NETGEAR 16 Ports Managed PoE+ Layer 2 Access Switch - 262
NETGEAR 8 Ports Managed Non PoE Layer 2 Access Switch - 34
NETGEAR 0 Ports Managed Non PoE Layer 2 Access Switch - 2
Garantir 9U Rack Enclosures Networking/Server Rack - 1,327
Garantir 24U Rack Enclosures Networking/Server Rack - 256
Garantir 42U Rack Enclosures Networking/Server Rack - 37
NORDEN Yes CAT 6 U/UTP Cat 6 Patch Panel - 1,635
NORDEN Yes RJ45 Yes CAT 6 Information outlet - 15,080
NORDEN Grey CAT6 U/UTP Patch cord 1.0 Mtrs - 5,953
NORDEN Grey CAT6 U/UTP Cable for Indoor use 305 mtrs. - 297,650
NORDEN Duplex Fiber Optic Patch Cord SC - LC - 3,200
NORDEN Single mode OS2 HDPE Fibre Cable For Networking - 130,200
NETGEAR SFP Small form-factor pluggable transceiver - 3,118
NORDEN Simplex Pigtails for Fiber Cable Connection length 1 m - 18,768
NORDEN Single Mode, Simplex and Multi Mode , Simplex and Single Mode,
Duplex and Multi Mode , Duplex Fiber Optic Patch Panels, Rack Mountable 12
port with SC and ST and FC and LC connector 1564
NUMERIC 20.0 KVA UPS - 1
NUMERIC 1.0 KVA UPS - 281
NUMERIC 3.0 KVA UPS - 35
Unbranded Insulated Electrical Conduit Pipe 3 Meter Each- 49,608
Unbranded PLB-HDPE Duct for UG armoured Optical Fibre Cable diameter 86800 mtr
Unbranded Galvanized Cylindrical/Tubular Pole (6 mtr) 257
LG LED Data Wall Display - 1
LG LCD Data Wall Display - 1
LG LCD Data Wall Display - 20
Crestron Modular Switcher 3 - 1
Crestron Fixed Switcher 3 - 20
Crestron Media Control Systems, OEM Warranty 3 - 22
Crestron Media Control Systems, OEM Warranty 3 - 22
Crestron Fixed Switcher 3 - 1
Crestron 6 Microphone with Speaker - 1
Crestron Fixed Switcher 3 - 111
Crestron Fixed Switcher 3 - 43
Crestron Modular Switcher 3 - 20
Crestron Modular Switcher 3 - 1
Crestron 1 Microphone with Speaker - 1
Crestron Digital 48V Pa Mixer - 1
Crestron Electronics Two Way PA Speaker, Warranty 3 Years - 2
Crestron Fixed Switcher 3 - 20
LG Professional Large Format Display, Size 108 cm Non Touch Screen - 247
LG Professional Large Format Display, Size 138 cm Non Touch Screen - 66