## Sheet1
PO | Line | Type | Item/Job | Description | UOM | Price | Task Name | C1 | C3 | E1 | QTY | Amount
14030262914 | 1 | Goods | 2D-300000-0-00-ZZ-ZZ-817 | Supply & Installation of enamel painted structural steel members - (Steel grade FY250) | Kilogram | 85 | Civil Work |  |  |  | 358 | 30430
14030262914 | 4 | Goods | 24-600000-0-00-ZZ-ZZ-604 | Door & Window Fitting Charges - Lock 7-liver (link,plaza,harison make) | Each | 265 | Civil Work |  |  | 7 | 7 | 1855
14030262914 | 2 | Goods | 25-100000-0-00-ZZ-ZZ-AN2 | Excavation in all types of soils by Manual Methods,(As per Indus Standards and Guidelines) | CUBIC METER | 210 | Civil Work | 9 |  |  | 9 | 1890
14030262914 | 3 | Goods | 25-100000-0-00-ZZ-ZZ-725 | Reinforced Cement Concrete - M 25 grade (1:1:2) excluding reinforcement steel,(As per Indus Standards and Guidelines) | CUBIC METER | 7275 | Civil Work | 9 |  |  | 10 | 72750
14030262658 | 6 | Goods | 22-205930-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,2.5 Sq MM,3 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 138 | Civil Work |  |  | 7 | 7 | 966
14030262658 | 22 | Goods | 12-C00000-0-01-ZZ-ZZ-136 | PLB HDPE Pipe - OD 40mm, 3.5mm Thk (For OFC Duct),Version 1.0 | Meter | 94 | Electrical Work |  |  | 3 | 3 | 282
14030262658 | 9 | Goods | 22-210A30-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,16 Sq MM,4 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 795 | Civil Work |  |  |  | 2.5 | 1987.5
14030262658 | 5 | Goods | 22-210830-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,16 Sq MM,2 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 416 | Civil Work |  |  | 6 | 6 | 2496
14030262658 | 4 | Goods | 22-210560-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,16 Sq MM,1 Core Green,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 163 | Civil Work |  |  | 45 | 45 | 7335
14030262658 | 3 | Goods | 22-204B30-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,1.5 Sq MM,12 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 286 | Civil Work |  |  | 8 | 8 | 2288
14030262658 | 41 | Goods | 22-435000-0-00-ZZ-ZZ-654 | Earthing,GI strip (25x3) mm with all installation accessories,(As per Indus Standards and Guidelines) | Meter | 90 | Civil Work |  |  | 47 | 47 | 4230
14030262658 | 51 | Goods | 12-422000-0-01-ZZ-ZZ-000 | Earthing, EGB GI Busbar, 300x150x6 with all installation accessories, Version 1.0 | Meter | 398 | Other Services &Lots |  |  | 1 | 1 | 398
14030262658 | 40 | Goods | 12-C00000-C-00-ZZ-ZZ-162 | Conduit/Pipe - PVC 40 mm - Capex | Meter | 58 | Electrical Work |  |  | 4 | 4 | 232
14030262658 | 49 | Goods | 2D-600000-0-00-ZZ-ZZ-650 | Water Charges (Tankar Capacity-2000 ltrs) | Each | 500 | Civil Work |  |  |  | 4 | 2000
14030262658 | 8 | Goods | 22-214760-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,70 Sq MM,1 Core Red,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 737 | Civil Work |  |  | 4.5 | 4.5 | 3316.5
14030262658 | 7 | Goods | 22-214660-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,70 Sq MM,1 Core Black,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 737 | Civil Work |  |  | 4 | 4 | 2948
14030262658 | 1 | Goods | 22-207830-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,6 Sq MM,2 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 198 | Civil Work |  |  | 16 | 16 | 3168
14030262658 | 15 | Goods | 22-212AP0-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,35 Sq MM,4 Core,Aluminum Armoured, HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 269 | Civil Work |  |  | 6 | 6 | 1614
14030262658 | 55 | Goods | 22-2128P0-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,35 Sq MM,2 Core,Aluminum Armoured, HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 158 | Civil Work |  |  | 8 | 8 | 1264
14030262658 | 38 | Goods | 12-C00000-0-01-ZZ-ZZ-012 | Conduit - PVC 32 mm Flexible (ISI Mark),Version 1.0 | Meter | 48 | Electrical Work |  |  | 47 | 47 | 2256
14030262658 | 54 | Goods | 12-900000-0-01-ZZ-ZZ-020 | 5/15 Amps Switch & Socket Assembly - OD Type,Version 1.0 | Each | 460 | Electrical Work |  |  | 1 | 1 | 460
14030262658 | 25 | Goods | 21-D00000-0-00-ZZ-ZZ-705 | Installation, Grouting, Earthing & Commissioning & OD TX Rack,(As per Indus Standards and Guidelines) | Each | 200 | Tx Rack |  |  | 1 | 1 | 200
14030262658 | 32 | Goods | 21-320400-0-00-ZZ-ZZ-064 | Installation, DCDB, 8 way, (Indoor/Outdoor) installation charges including laying of cables and all accessories (bolts used for DCDB, cable ties etc.) | Each | 1000 | Other Services &Lots |  |  | 1 | 1 | 1000
14030262658 | 19 | Goods | 21-600000-0-00-ZZ-ZZ-706 | Installation, Commissioning & Testing of SMPS,(As per Indus Standards and Guidelines) | Each | 1200 | SMPS |  |  | 1 | 1 | 1200
14030262658 | 17 | Goods | 22-600000-0-00-ZZ-ZZ-848 | Installation and Commisioning of SPD Box including end termination of cables (As per Indus Standards and Guidelines) | Each | 500 | Tower |  |  | 1 | 1 | 500
14030262658 | 20 | Goods | 22-440000-0-00-ZZ-ZZ-169 | Installation & Commissioning,Maintenance Free Chemical Earthing | Each | 2000 | Civil Work |  | 2 |  | 2 | 4000
14030262658 | 29 | Goods | 21-3A0000-0-00-ZZ-ZZ-713 | Installation, Grouting, Earthing,Commsioning,testing including end termination of power cables using glands and lugs including coordination with Panel OEM - Simple Power Solution,(As per Indus Standards and Guidelines) | Each | 2500 | Other Services &Lots |  |  | 1 | 1 | 2500
14030262658 | 27 | Goods | 24-500000-0-00-ZZ-ZZ-704 | Installation, Grouting, Earthing and Commissioning of OD BB Cabinet,(As per Indus Standards and Guidelines) | Each | 1500 | Battery |  |  | 1 | 1 | 1500
14030262658 | 11 | Goods | 22-201250-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,0.5 MM Dia,5 Pair,Annealed Tinned Copper single strand Unarmoured(FRLS), Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories | Meter | 20 | Civil Work |  |  | 18 | 18 | 360
14030262658 | 2 | Goods | 22-610000-0-00-ZZ-ZZ-469 | Supply & Installation Charges,Lightening Arrestor,Lightening Protection | Each | 1600 | Tower |  |  | 1 | 1 | 1600
14030262658 | 28 | Goods | 2E-500000-0-00-ZZ-ZZ-787 | Site security during site construction for upto 2 months on 24 hours guarding basis | Each | 21600 | Other Services &Lots |  |  |  | 1 | 21600
14030262658 | 43 | Goods | 12-1242E9-C-00-ZZ-ZZ-000 | MCCB,100A,4 Pole,25KA,Magnetic Thermal Release Including Spreader Links,compliant with IS 13947(Part 2):1993/ IEC-60947-2, Capex | Each | 2365 | Other Matl. (Serial) |  |  | 1 | 1 | 2365
14030262658 | 37 | Goods | 12-120000-0-00-ZZ-ZZ-001 | MCCB Box | Each | 880 | Other Matl. (Serial) |  |  | 3 | 3 | 2640
14030262658 | 46 | Goods | 12-111026-0-00-ZZ-ZZ-000 | MCB,40A,1 Pole,C Curve | Each | 143 | Other Matl. (Serial) |  |  | 1 | 1 | 143
14030262658 | 56 | Goods | 12-900000-0-01-ZZ-ZZ-026 | Krone BOX, 10 PAIR, Indoor,Version 1.0 | Each | 242 | Electrical Work |  |  | 1 | 1 | 242
14030262658 | 23 | Goods | 24-200000-0-00-ZZ-ZZ-147 | Installation,CABLE TRAY | Each | 200 | Civil Work |  |  | 5.5 | 5.5 | 1100
14030262658 | 61 | Goods | 22-211AP0-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,25 Sq MM,4 Core,Aluminum Armoured, HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 211 | Civil Work |  |  | 3+20 | 23 | 4853
14030262658 | 62 | Goods | 22-205830-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,2.5 Sq MM,2 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 111 | Civil Work |  |  | 5 | 5 | 555
1 | 1 | Goods | 12-154067-0-00-ZZ-ZZ-000 | ELCB,63A,4 Pole,30 mA | Each | 1397 |  |  |  | 1 | 1 | 1397