## Sheet1
Po | Line | Type | Item/Job | Description | UOM | Qty | Price | Amount | Task Name | C1 | C3 | E1 | Total
14030262421 | 2 | Goods | 25-100000-0-00-ZZ-ZZ-AM9 | Excavation in all types of soils by Mechanized Methods,(As per Indus Standards and Guidelines) | CUBIC METER | 75 | 130 | 9750 | Civil Work |  |  |  | 0
14030262659 | 16 | Goods | 21-600000-0-00-ZZ-ZZ-706 | Installation, Commissioning & Testing of SMPS,(As per Indus Standards and Guidelines) | Each | 1 | 1200 | 1200 | SMPS |  |  | 1 | 1 | 1200 | 0
14030262659 | 7 | Goods | 22-210A30-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,16 Sq MM,4 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 2 | 795 | 1590 | Civil Work |  |  |  | 0
14030262659 | 60 | Goods | 22-210830-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,16 Sq MM,2 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 15 | 416 | 6240 | Civil Work |  |  | 7 | 7 | 2912 | 8
14030262659 | 59 | Goods | 22-210560-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,16 Sq MM,1 Core Green,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 55 | 163 | 8965 | Civil Work |  |  | 60.5 | 60.5 | 8965 | -5.5
14030262659 | 8 | Goods | 22-208830-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,10 Sq MM,2 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 15 | 310 | 4650 | Civil Work |  |  |  | 0
14030262659 | 9 | Goods | 22-204B30-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,1.5 Sq MM,12 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 15 | 286 | 4290 | Civil Work |  |  | 5 | 5 | 1430 | 10
14030262659 | 3 | Goods | 22-201240-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,0.5 MM Dia,5 Pair,Annealed Tinned Copper single strand armoured(FRLS), Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories | Meter | 20 | 34 | 680 | Civil Work |  |  |  | 0
14030262659 | 1 | Goods | 22-201250-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,0.5 MM Dia,5 Pair,Annealed Tinned Copper single strand Unarmoured(FRLS), Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories | Meter | 20 | 20 | 400 | Civil Work |  |  | 12 | 12 | 240 | 8
14030262659 | 2 | Goods | 22-201340-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,0.5 MM Dia,10 Pair,Annealed Tinned Copper single strand armoured(FRLS), Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories | Meter | 20 | 65 | 1300 | Civil Work |  |  |  | 0
14030262659 | 14 | Goods | 22-600000-0-00-ZZ-ZZ-848 | Installation and Commisioning of SPD Box including end termination of cables (As per Indus Standards and Guidelines) | Each | 1 | 500 | 500 | Tower |  |  | 1 | 1 | 500 | 0
14030262659 | 17 | Goods | 22-440000-0-00-ZZ-ZZ-169 | Installation & Commissioning,Maintenance Free Chemical Earthing | Each | 2 | 2000 | 4000 | Civil Work |  | 2 |  | 2 | 4000 | 0
14030262659 | 23 | Goods | 22-500000-0-00-ZZ-ZZ-707 | Fixing of Aviation Lamp,(As per Indus Standards and Guidelines) | Each | 1 | 300 | 300 | Electrical Work |  |  |  | 0
14030262659 | 36 | Goods | 22-435000-0-00-ZZ-ZZ-654 | Earthing,GI strip (25x3) mm with all installation accessories,(As per Indus Standards and Guidelines) | Meter | 110 | 90 | 9900 | Civil Work |  |  | 48.5 | 48.5 | 4365 | 61.5
14030262659 | 22 | Goods | 21-D00000-0-00-ZZ-ZZ-705 | Installation, Grouting, Earthing & Commissioning & OD TX Rack,(As per Indus Standards and Guidelines) | Each | 1 | 200 | 200 | Tx Rack |  |  | 1 | 1 | 200 | 0
14030262659 | 33 | Goods | 21-320400-0-00-ZZ-ZZ-064 | Installation, DCDB, 8 way, (Indoor/Outdoor) installation charges including laying of cables and all accessories (bolts used for DCDB, cable ties etc.) | Each | 1 | 1000 | 1000 | Other Services &Lots |  |  | 1 | 1 | 1000 | 0
14030262659 | 26 | Goods | 12-411000-0-01-ZZ-ZZ-000 | Earthing, IGB - Copper Busbar , 300x75x3 with all installation accessories, Version 1.0 | Each | 1 | 750 | 750 | Other Services &Lots |  |  |  | 0
14030262659 | 47 | Goods | 12-422000-0-01-ZZ-ZZ-000 | Earthing, EGB GI Busbar, 300x150x6 with all installation accessories, Version 1.0 | Meter | 2 | 398 | 796 | Other Services &Lots |  |  | 1 | 1 | 398 | 1
14030262659 | 42 | Goods | 12-C00000-C-00-ZZ-ZZ-162 | Conduit/Pipe - PVC 40 mm - Capex | Meter | 30 | 58 | 1740 | Electrical Work |  |  | 30 | 30 | 1740 | 0
14030262659 | 40 | Goods | 12-C00000-0-01-ZZ-ZZ-012 | Conduit - PVC 32 mm Flexible (ISI Mark),Version 1.0 | Meter | 30 | 48 | 1440 | Electrical Work |  |  | 22 | 22 | 1056 | 8
14030262659 | 48 | Goods | 25-210000-0-00-ZZ-ZZ-262 | Brick work with bricks class designation-105, in foundation up to DPC level in mortar mix 1:4(1 cement: 6-coarse sand) including all materials, labour, tools & plants etc. required for proper completion of work with minimum 6-days curing. | CUBIC METER | 1.75 | 4800 | 8400 | Civil Work |  |  |  | 0
14030262659 | 18 | Goods | 25-100000-0-00-ZZ-ZZ-720 | Brick / Stone Soling,(As per Indus Standards and Guidelines) | CUBIC METER | 12.25 | 1200 | 14700 | Civil Work |  |  |  | 0
14030262659 | 34 | Goods | 2A-600000-C-00-ZZ-ZZ-168 | Alarm termination Charges - Capex | Each | 1 | 1000 | 1000 | Electrical Work |  |  | 1 | 1 | 1000 | 0
14030262659 | 50 | Goods | 12-900000-0-01-ZZ-ZZ-020 | 5/15 Amps Switch & Socket Assembly - OD Type,Version 1.0 | Each | 1 | 460 | 460 | Electrical Work |  |  | 1 | 1 | 460 | 0
14030262659 | 45 | Goods | 2D-600000-0-00-ZZ-ZZ-650 | Water Charges (Tankar Capacity-2000 ltrs) | Each | 5 | 500 | 2500 | Civil Work |  |  |  | 5 | 2500 | 0
14030262659 | 32 | Goods | 29-400000-0-00-ZZ-ZZ-885 | Transportation from Indus WH to site for NB site with DG including unloading of material at Ground floor of site | Each | 1 | 9700 | 9700 | Other Services &Lots |  |  |  | 1 | 9700 | 0
14030262659 | 44 | Goods | 25-1B0000-0-00-ZZ-ZZ-477 | Supply and filling with fine/Yamuna sand in plinth under the floors in a layer of 15-20cms including watering, ramming, consolidating and dressing complete. | CUBIC METER | 12.25 | 233 | 2854.25 | Civil Work |  |  |  | 0
14030262659 | 49 | Goods | 25-100000-0-00-ZZ-ZZ-742 | Mechanical anchoring for M16 anchor bolt,(As per Indus Standards and Guidelines) | Each | 16 | 53 | 848 | Civil Work |  |  |  | 0
14030262659 | 20 | Goods | 14-200800-0-01-ZZ-ZZ-000 | MS Ladder and Platform,Version 1.0 | Kilogram | 25 | 85 | 2125 | Shelter |  |  |  | 0
14030262659 | 28 | Goods | 12-1242E9-C-00-ZZ-ZZ-000 | MCCB,100A,4 Pole,25KA,Magnetic Thermal Release Including Spreader Links,compliant with IS 13947(Part 2):1993/ IEC-60947-2, Capex | Each | 1 | 2365 | 2365 | Other Matl. (Serial) |  |  | 1 | 1 | 2365 | 0
14030262659 | 39 | Goods | 12-120000-0-00-ZZ-ZZ-001 | MCCB Box | Each | 3 | 880 | 2640 | Other Matl. (Serial) |  |  | 4 | 4 | 2640 | -1
14030262659 | 29 | Goods | 12-114027-0-00-ZZ-ZZ-000 | MCB,63A,4 Pole,C Curve | Each | 1 | 660 | 660 | Other Matl. (Serial) |  |  | 1 | 1 | 660 | 0
14030262659 | 30 | Goods | 12-111027-0-00-ZZ-ZZ-000 | MCB,63A,1 Pole,10KA,C Curve compliant with IS 13947(Part 2):1993/ IEC-60947-2 | Each | 3 | 152 | 456 | Other Matl. (Serial) |  |  |  | 0
14030262659 | 31 | Goods | 12-111026-0-00-ZZ-ZZ-000 | MCB,40A,1 Pole,C Curve | Each | 1 | 143 | 143 | Other Matl. (Serial) |  |  | 1 | 1 | 143 | 0
14030262659 | 37 | Goods | 12-111025-0-00-ZZ-ZZ-000 | MCB,32A,1 Pole,C Curve | Each | 4 | 80 | 320 | Other Matl. (Serial) |  |  |  | 0
14030262659 | 38 | Goods | 12-111123-0-00-ZZ-ZZ-000 | MCB,16A,1 Pole,10KA,C Curve | Each | 4 | 80 | 320 | Other Matl. (Serial) |  |  |  | 0
14030262659 | 51 | Goods | 12-900000-0-01-ZZ-ZZ-026 | Krone BOX, 10 PAIR, Indoor,Version 1.0 | Each | 2 | 242 | 484 | Electrical Work |  |  | 2 | 2 | 484 | 0
14030262659 | 46 | Goods | 28-600000-C-00-ZZ-ZZ-001 | Installation,Signage Board - Capex | Each | 1 | 50 | 50 | Other Services &Lots |  |  | 1 | 1 | 50 | 0
14030262659 | 27 | Goods | 24-200000-0-00-ZZ-ZZ-147 | Installation,CABLE TRAY | Each | 1 | 200 | 200 | Civil Work |  |  | 6.5 | 6.5 | 200 | -5.5
14030262659 | 35 | Goods | 21-310000-0-00-ZZ-ZZ-147 | Installation,ACDB | Each | 1 | 500 | 500 | Other Services &Lots |  |  |  | 0
14030262659 | 13 | Goods | 21-3A0000-0-00-ZZ-ZZ-713 | Installation, Grouting, Earthing,Commsioning,testing including end termination of power cables using glands and lugs including coordination with Panel OEM - Simple Power Solution,(As per Indus Standards and Guidelines) | Each | 1 | 2500 | 2500 | Other Services &Lots |  |  | 1 | 1 | 2500 | 0
14030262659 | 24 | Goods | 24-500000-0-00-ZZ-ZZ-704 | Installation, Grouting, Earthing and Commissioning of OD BB Cabinet,(As per Indus Standards and Guidelines) | Each | 1 | 1500 | 1500 | Battery |  |  | 1 | 1 | 1500 | 0
14030262659 | 25 | Goods | 21-390000-0-00-ZZ-ZZ-712 | Installation, Grouting, Earthing Commisioning testing of Power Panel -SP including end termination of power cables using glands and lugs including coordination with Panel OEM,(As per Indus Standards and Guidelines) | Each | 1 | 1000 | 1000 | Other Services &Lots |  |  |  | 0
14030262659 | 11 | Goods | 22-610000-0-00-ZZ-ZZ-469 | Supply & Installation Charges,Lightening Arrestor,Lightening Protection | Each | 1 | 1600 | 1600 | Tower |  |  |  | 0
14030262659 | 12 | Goods | 2E-500000-0-00-ZZ-ZZ-787 | Site security during site construction for upto 2 months on 24 hours guarding basis | Each | 1 | 21600 | 21600 | Other Services &Lots |  |  |  | 1 | 21600 | 0
14030262659 | 15 | Goods | 29-100000-0-00-ZZ-ZZ-768 | Project Management Charges - Ground Based Site | Each | 1 | 25000 | 25000 | Civil Work |  |  |  | 1 | 25000 | 0
14030262659 | 21 | Goods | 25-100000-0-00-ZZ-ZZ-722 | Plain Cement Concrete - M10 grade (1:3:6),(As per Indus Standards and Guidelines) | CUBIC METER | 4.9 | 4715 | 23103.5 | Civil Work |  |  |  | 0
14030262659 | 41 | Goods | 12-C00000-0-01-ZZ-ZZ-046 | PVC Flexible Conduit- Steel reinforced dia 0.5",Version 1.0 | Each | 25 | 50 | 1250 | Electrical Work |  |  |  | 0
14030262659 | 19 | Goods | 12-C00000-0-01-ZZ-ZZ-136 | PLB HDPE Pipe - OD 40mm, 3.5mm Thk (For OFC Duct),Version 1.0 | Meter | 50 | 94 | 4700 | Electrical Work |  |  | 3 | 3 | 282 | 47
14030262659 | 52 | Goods | 24-900000-C-00-ZZ-ZZ-F08 | Mount Installation Charges per mount (for 1st mount per site, Only 1 quantity allowed) - Capex | Each | 1 | 1500 | 1500 | Tower |  |  |  | 0
14030262659 | 53 | Goods | 24-900000-C-00-ZZ-ZZ-F09 | Mount Installation Charges per mount (For >=2 mount per site only, not applicable for 1st mount installation) - Capex | Each | 1 | 1000 | 1000 | Tower |  |  |  | 0
14030262659 | 43 | Goods | 14-600000-0-01-ZZ-ZZ-868 | Supply and Installation of Hilti HIT-V & HY200R or Equivalent Mortar based Chemical Anchor bolt 5.8 grade, M10X113 | Each | 8 | 187.01 | 1496.08 | Civil Work |  |  |  | 0
14030262659 | 6 | Goods | 22-214760-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,70 Sq MM,1 Core Red,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 4 | 737 | 2948 | Civil Work |  |  | 4.5 | 4.5 | 2948 | -0.5
14030262659 | 62 | Goods | 22-214660-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,70 Sq MM,1 Core Black,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 4 | 737 | 2948 | Civil Work |  |  | 4 | 4 | 2948 | 0
14030262659 | 10 | Goods | 22-207830-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,6 Sq MM,2 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 15 | 198 | 2970 | Civil Work |  |  | 21 | 21 | 2970 | -6
14030262659 | 5 | Goods | 22-212AP0-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,35 Sq MM,4 Core,Aluminum Armoured, HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 6.5 | 269 | 1748.5 | Civil Work |  |  | 134+6 | 140 | 1748.5 | -133.5
14030262659 | 57 | Goods | 22-2128P0-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,35 Sq MM,2 Core,Aluminum Armoured, HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 15 | 158 | 2370 | Civil Work |  |  | 5 | 5 | 790 | 10
14030262659 | 4 | Goods | 22-211A30-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,25 Sq MM,4 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 6.5 | 1235 | 8027.5 | Civil Work |  |  |  | 0
14030262659 | 56 | Goods | 22-211AP0-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,25 Sq MM,4 Core,Aluminum Armoured, HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 65 | 211 | 13715 | Civil Work |  |  | 4.5 | 4.5 | 949.5 | 60.5
14030262659 | 54 | Goods | 22-211660-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,25 Sq MM,1 Core Black,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories | Meter | 1 | 261 | 261 | Civil Work |  |  |  | 0
14030262659 | 61 | Goods | 22-205930-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,2.5 Sq MM,3 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 10 | 138 | 1380 | Civil Work |  |  | 4 | 4 | 552 | 6
14030262659 | 58 | Goods | 22-205830-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,2.5 Sq MM,2 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 10 | 111 | 1110 | Civil Work |  |  | 4.5 | 4.5 | 499.5 | 5.5
14030262659 | 55 | Goods | 22-210860-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,16 Sq MM,2 Core,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 1 | 399 | 399 | Civil Work |  |  |  | 0
14030262909 | 2 | Goods | 2D-300000-0-00-ZZ-ZZ-817 | Supply & Installation of enamel painted structural steel members - (Steel grade FY250) | Kilogram | 386 | 85 | 32810 | Civil Work |  |  |  | 386
14030262909 | 4 | Goods | 24-600000-0-00-ZZ-ZZ-604 | Door & Window Fitting Charges - Lock 7-liver (link,plaza,harison make) | Each | 6 | 265 | 1590 | Civil Work |  |  | 6 | 6 | 1590 | 0
14030262909 | 3 | Goods | 25-100000-0-00-ZZ-ZZ-AN2 | Excavation in all types of soils by Manual Methods,(As per Indus Standards and Guidelines) | CUBIC METER | 9 | 210 | 1890 | Civil Work | 9 |  |  | 9 | 1890 | 0
14030262909 | 1 | Goods | 25-100000-0-00-ZZ-ZZ-725 | Reinforced Cement Concrete - M 25 grade (1:1:2) excluding reinforcement steel,(As per Indus Standards and Guidelines) | CUBIC METER | 10 | 7275 | 72750 | Civil Work | 9 |  |  | 9 | 65475 | 1
14030263153 | 1 | Goods | 25-620000-0-00-ZZ-ZZ-274 | P&L 2-coats of Enamel paint(White/Black) over 1-coat of base primer including cleaning of surface with sand paper to remove the dirt, dust & rust etc. Make -- BERGER / SHALIMAR / ASIAN / NEROLAC. | Sq. Meter | 27 | 53 | 1431 | Civil Work |  |  |  | 0
14030263088 | 5 | Goods | 2M-300000-0-00-ZZ-ZZ-006 | Services for Trenching, Ducting and back filling (Restoration) as per INDUS Specifications in any road with HDD | Meter | 45 | 330 | 14850 | Civil Work |  |  |  | 0
14030263088 | 3 | Goods | 22-300000-C-00-ZZ-ZZ-A17 | Installation charges of Meter Box - Capex | Each | 1 | 4770 | 4770 | EB Cost |  |  |  | 0
14030263088 | 2 | Goods | 12-154067-0-00-ZZ-ZZ-000 | ELCB,63A,4 Pole,30 mA | Each | 1 | 1397 | 1397 | Other Matl. (Serial) |  |  | 1 | 1 | 1397 | 0
14030263088 | 1 | Goods | 12-900000-0-01-ZZ-ZZ-024 | Mounting Frame for EB Meter Box,Version 1.0 | Each | 1 | 530 | 530 | Electrical Work |  |  |  | 0
14030263088 | 4 | Goods | 2B-300000-0-00-ZZ-ZZ-473 | Supply of EB Material for Line Erection - Installation | Each | 1 | 6250 | 6250 | EB Cost |  |  |  | 0
|  |  | 12-433000-0-01-ZZ-ZZ-000 | Earthing,GI strip,50x6 with all installation accessories,Version 1.0 | Meter |  | 240 |  |  |  |  | 1.5 | 1.5
|  |  | 21-51E000-0-00-ZZ-ZZ-169 | Installation & Commissioning,Diesel - Generator,30 KVA,(10KVA, 15 KVA, 25 KVA, 30 KVA DG Sets) | Each |  | 3500 |  |  |  |  | 1 | 1
0