## Sheet1
PO | Line | Type | Item/Job | Description | UOM | Price | Task Name | E1 | EB approval | Total | Amount
14030251367 | 1 | Goods | 21-320400-0-00-ZZ-ZZ-064 | Installation, DCDB, 8 way, (Indoor/Outdoor) installation charges including laying of cables and all accessories (bolts used for DCDB, cable ties etc.) | Each | 1000 | Other Services &Lots | 1 |  | 1 | 1000
14030251367 | 5 | Goods | 22-435000-0-00-ZZ-ZZ-654 | Earthing,GI strip (25x3) mm with all installation accessories,(As per Indus Standards and Guidelines) | Meter | 90 | Civil Work | 70.4 |  | 70.4 | 6336
14030251367 | 7 | Goods | 12-1242E9-C-00-ZZ-ZZ-000 | MCCB,100A,4 Pole,25KA,Magnetic Thermal Release Including Spreader Links,compliant with IS 13947(Part 2):1993/ IEC-60947-2, Capex | Each | 2365 | Other Matl. (Serial) | 1 |  | 1 | 2365
14030251367 | 10 | Goods | 12-111026-0-00-ZZ-ZZ-000 | MCB,40A,1 Pole,C Curve | Each | 143 | Other Matl. (Serial) | 1 |  | 1 | 143
14030251367 | 13 | Goods | 12-120000-0-00-ZZ-ZZ-001 | MCCB Box | Each | 880 | Other Matl. (Serial) | 1 |  | 1 | 880
14030251367 | 15 | Goods | 12-C00000-C-00-ZZ-ZZ-162 | Conduit/Pipe - PVC 40 mm - Capex | Meter | 58 | Electrical Work | 3 |  | 3 | 174
14030251367 | 16 | Goods | 12-154067-0-00-ZZ-ZZ-000 | ELCB,63A,4 Pole,30 mA | Each | 1397 | Other Matl. (Serial) | 1 |  | 1 | 1397
14030251367 | 17 | Goods | 12-900000-0-01-ZZ-ZZ-020 | 5/15 Amps Switch & Socket Assembly - OD Type,Version 1.0 | Each | 460 | Other Matl. (Serial) | 1 |  | 1 | 460
14030251367 | 19 | Goods | 22-211AP0-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,25 Sq MM,4 Core,Aluminum Armoured, HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 208.21 | Civil Work | 7.6 | 85 | 92.6 | 19280.246
14030251367 | 20 | Goods | 22-205830-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,2.5 Sq MM,2 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 116.79 | Civil Work | 4.5 |  | 4.5 | 525.555
14030251367 | 21 | Goods | 22-210560-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,16 Sq MM,1 Core Green,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 177.46 | Civil Work | 14.4 |  | 14.4 | 2555.424
14030251367 | 22 | Goods | 22-210830-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,16 Sq MM,2 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 419.31 | Civil Work | 9 |  | 9 | 3773.79
14030251367 | 23 | Goods | 22-210A30-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,16 Sq MM,4 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 816.05 | Civil Work | 2.5 |  | 2.5 | 2040.125
14030251367 | 24 | Goods | 22-205930-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,2.5 Sq MM,3 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 136.52 | Civil Work | 3 |  | 3 | 409.56
14030251367 | 25 | Goods | 22-214660-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,70 Sq MM,1 Core Black,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 789.12 | Civil Work | 4.5 |  | 4.5 | 3551.04
14030251367 | 26 | Goods | 22-214760-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,70 Sq MM,1 Core Red,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 789.12 | Civil Work | 4 |  | 4 | 3156.48
14030251367 | 32 | Goods | 22-201250-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,0.5 MM Dia,5 Pair,Annealed Tinned Copper single strand Unarmoured(FRLS), Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories | Meter | 29.55 | Civil Work | 16.6 |  | 16.6 | 490.53
14030251367 | 37 | Goods | 22-212AP0-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,35 Sq MM,4 Core,Aluminum Armoured, HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 267.5 | Civil Work | 7 |  | 7 | 1872.5
14030251367 | 39 | Goods | 12-900000-0-01-ZZ-ZZ-026 | Krone BOX, 10 PAIR, Indoor,Version 1.0 | Each | 242 | Other Matl. (Serial) | 1 |  | 1 | 242
14030251367 | 69 | Goods | 24-200000-0-00-ZZ-ZZ-147 | Installation,CABLE TRAY | Each | 200 | Civil Work | 14 |  | 14 | 2800
14030251367 | 72 | Goods | 22-600000-0-00-ZZ-ZZ-848 | Installation and Commisioning of SPD Box including end termination of cables (As per Indus Standards and Guidelines) | Each | 500 | Tower | 1 |  | 1 | 500
14030251367 | 74 | Goods | 21-600000-0-00-ZZ-ZZ-706 | Installation, Commissioning & Testing of SMPS,(As per Indus Standards and Guidelines) | Each | 1200 | SMPS | 1 |  | 1 | 1200
14030251367 | 76 | Goods | 12-C00000-0-01-ZZ-ZZ-136 | PLB HDPE Pipe - OD 40mm, 3.5mm Thk (For OFC Duct),Version 1.0 | Meter | 94 | Electrical Work | 3 | 81 | 148 | 13912
14030251367 | 77 | Goods | 21-D00000-0-00-ZZ-ZZ-705 | Installation, Grouting, Earthing & Commissioning & OD TX Rack,(As per Indus Standards and Guidelines) | Each | 200 | Tx Rack | 1 |  | 1 | 200
14030251367 | 79 | Goods | 24-500000-0-00-ZZ-ZZ-704 | Installation, Grouting, Earthing and Commissioning of OD BB Cabinet,(As per Indus Standards and Guidelines) | Each | 1500 | Battery | 1 |  | 1 | 1500
14030251367 | 81 | Goods | 21-390000-0-00-ZZ-ZZ-712 | Installation, Grouting, Earthing Commisioning testing of Power Panel -SP including end termination of power cables using glands and lugs including coordination with Panel OEM,(As per Indus Standards and Guidelines) | Each | 1000 | Other Services &Lots | 1 |  | 1 | 1000
14030252712 | 4 | Goods | 22-300000-C-00-ZZ-ZZ-A17 | Installation charges of Meter Box - Capex | Each | 4770 | EB Cost | 1 |  | 1 | 4770
14030252712 | 3 | Goods | 12-900000-0-01-ZZ-ZZ-024 | Mounting Frame for EB Meter Box,Version 1.0 | Each | 530 | Other Matl. (Serial) | 1 |  | 1 | 530
14030260277 | 11 | Goods | 25-100000-0-00-ZZ-ZZ-740 | Mechanical anchoring for M10 anchor bolt,(As per Indus Standards and Guidelines) | Each | 53 | Civil Work | 12 |  | 12 | 636
14030260277 | 7 | Goods | 12-422000-0-01-ZZ-ZZ-000 | Earthing, EGB GI Busbar, 300x150x6 with all installation accessories, Version 1.0 | Meter | 398 | Other Services &Lots | 2 |  | 2 | 796
14030260277 | 2 | Goods | 12-C00000-0-01-ZZ-ZZ-012 | Conduit - PVC 32 mm Flexible (ISI Mark),Version 1.0 | Meter | 48 | Electrical Work | 25 |  | 25 | 1200
14030260277 | 1 | Goods | 24-600000-0-00-ZZ-ZZ-604 | Door & Window Fitting Charges - Lock 7-liver (link,plaza,harison make) | Each | 265 | Civil Work | 6 |  | 6 | 1590
14030251367 | 48 | Goods | 2E-500000-0-00-ZZ-ZZ-787 | Site security during site construction for upto 2 months on 24 hours guarding basis | Each | 21000 | Civil Work | 0.5 |  | 0.5 | 10500