## Sheet1
Po | Line | Type | Item/Job | Description | UOM | Qty | Price | Amount | Task Name | C1 | C2 | C3 | T1 | E1 | QTY Total | Amount
14030263747 | 1 | Goods | 25-100000-0-00-ZZ-ZZ-AM9 | Excavation in all types of soils by Mechanized Methods,(As per Indus Standards and Guidelines) | CUBIC METER | 75 | 130 | 9750 | Civil Work | 97.81 |  |  |  |  | 97.81 | 12715.3
14030263950 | 1 | Goods | 22-300000-C-00-ZZ-ZZ-A17 | Installation charges of Meter Box - Capex | Each | 1 | 4770 | 4770 | EB Cost |  |  |  |  | 1 | 1 | 4770
14030263950 | 3 | Goods | 12-900000-0-01-ZZ-ZZ-024 | Mounting Frame for EB Meter Box,Version 1.0 | Each | 2 | 530 | 1060 | Electrical Work |  |  |  |  | 1 | 1 | 530
14030263950 | 2 | Goods | 2B-300000-0-00-ZZ-ZZ-473 | Supply of EB Material for Line Erection - Installation | Each | 1 | 6250 | 6250 | EB Cost |  |  |  |  | 1 | 1 | 6250
14030267048 | 33 | Goods | 2E-500000-0-00-ZZ-ZZ-888 | Site security during site construction of Eco site | Each | 1 | 21600 | 21600 | Other Services &Lots | [5 empty] | 1 | 21600
14030267048 | 29 | Goods | 12-900000-0-01-ZZ-ZZ-020 | 5/15 Amps Switch & Socket Assembly - OD Type,Version 1.0 | Each | 1 | 460 | 460 | Electrical Work |  |  |  |  | 1 | 1 | 460
14030267048 | 11 | Goods | 25-100000-0-00-ZZ-ZZ-AN6 | Backfilling in layers using excavated earth by Manual Methods,(As per Indus Standards and Guidelines) | CUBIC METER | 70 | 60 | 4200 | Civil Work | [5 empty] | 70 | 4200
14030267048 | 31 | Goods | 25-150000-0-00-ZZ-ZZ-611 | Concrete Grouting below Tower base Plate. | Each | 3 | 795 | 2385 | Civil Work |  |  |  | 1 |  | 1 | 795
14030267048 | 35 | Goods | 12-422000-0-01-ZZ-ZZ-000 | Earthing, EGB GI Busbar, 300x150x6 with all installation accessories, Version 1.0 | Meter | 2 | 398 | 796 | Other Services &Lots | [5 empty] | 2 | 796
14030267048 | 20 | Goods | 22-435000-0-00-ZZ-ZZ-654 | Earthing,GI strip (25x3) mm with all installation accessories,(As per Indus Standards and Guidelines) | Meter | 63 | 90 | 5670 | Civil Work |  |  |  |  | 63 | 63 | 5670
14030267048 | 21 | Goods | 22-434000-0-00-ZZ-ZZ-653 | Earthing,GI strip (25x6) mm with all installation accessories,(As per Indus Standards and Guidelines) | Meter | 10 | 140 | 1400 | Civil Work |  |  |  |  | 10 | 10 | 1400
14030267048 | 30 | Goods | 24-600000-0-00-ZZ-ZZ-102 | Fixing & Levelling of Foundation Bolt & Tower Template | Each | 1 | 3180 | 3180 | Civil Work |  | 1 |  |  |  | 1 | 3180
14030267048 | 36 | Goods | 12-C00000-0-01-ZZ-ZZ-014 | GI Wire Reinforced HDPE Conduit Pipe 25 mm,Version 1.0 | Meter | 2 | 69 | 138 | Electrical Work |  |  |  |  | 12 | 12 | 828
14030267048 | 28 | Goods | 22-440000-0-00-ZZ-ZZ-169 | Installation & Commissioning,Maintenance Free Chemical Earthing | Each | 2 | 2000 | 4000 | Civil Work |  |  | 2 |  |  | 2 | 4000
14030267048 | 26 | Goods | 22-600000-0-00-ZZ-ZZ-848 | Installation and Commisioning of SPD Box including end termination of cables (As per Indus Standards and Guidelines) | Each | 1 | 500 | 500 | Tower |  |  |  |  | 1 | 1 | 500
14030267048 | 25 | Goods | 21-600000-0-00-ZZ-ZZ-706 | Installation, Commissioning & Testing of SMPS,(As per Indus Standards and Guidelines) | Each | 1 | 1200 | 1200 | SMPS | [5 empty] | 1 | 1200
14030267048 | 39 | Goods | 21-D00000-0-00-ZZ-ZZ-705 | Installation, Grouting, Earthing & Commissioning & OD TX Rack,(As per Indus Standards and Guidelines) | Each | 1 | 200 | 200 | Tx Rack |  |  |  |  | 1 | 1 | 200
14030267048 | 8 | Goods | 21-390000-0-00-ZZ-ZZ-712 | Installation, Grouting, Earthing Commisioning testing of Power Panel -SP including end termination of power cables using glands and lugs including coordination with Panel OEM,(As per Indus Standards and Guidelines) | Each | 1 | 1000 | 1000 | Other Services &Lots |  |  |  |  | 1 | 1 | 1000
14030267048 | 7 | Goods | 24-500000-0-00-ZZ-ZZ-704 | Installation, Grouting, Earthing and Commissioning of OD BB Cabinet,(As per Indus Standards and Guidelines) | Each | 1 | 1500 | 1500 | Battery | [5 empty] | 1 | 1500
14030267048 | 37 | Goods | 25-100000-0-00-ZZ-ZZ-722 | Plain Cement Concrete - M10 grade (1:3:6),(As per Indus Standards and Guidelines) | CUBIC METER | 1.54 | 4715 | 7261.1 | Civil Work | 1.75 |  |  |  |  | 1.75 | 8251.25
14030267048 | 17 | Goods | 12-C00000-0-00-ZZ-ZZ-752 | Poly Vinyl Chloride (CPVC) pipe of 75mm dia,(As per Indus Standards and Guidelines) | Meter | 3.3 | 106 | 349.8 | Electrical Work |  | 1.8 |  |  |  | 1.8 | 190.8
14030267048 | 10 | Goods | 2D-100000-0-02-ZZ-ZZ-832 | Reinforced Cement Concrete - M 20 grade (1:1.5:3) for Ground Based Sites, Version 1.1, excluding reinforcement steel (As per Indus Standards and Guidelines) | CUBIC METER | 15.71 | 6645 | 104392.95 | Civil Work | 11.664 | 4.76 |  |  | 0.27 | 16.694 | 110931.63
14030267048 | 24 | Goods | 15-100000-0-00-ZZ-ZZ-847 | Reinforcement Steel - Tor steel HYSD Fe- 500 grade,(As per Indus Standards and Guidelines), ISI marked and approved make ( circle specific make ) including cutting, bending & laying ,Including binding wires etc complete | Kilogram | 2068.78 | 70.75 | 146366.19 | Civil Work | 1674.02 | 470.264 |  |  | 7.876 | 2152.16 | 152265.32
14030267048 | 23 | Goods | 2D-300000-C-00-ZZ-ZZ-B37 | Shuttering for Eco/Eco lite Sites - MS Sheet / Plywood (As per Indus Standards and Guidelines),Capex | Sq. Meter | 62.91 | 290 | 18243.9 | Civil Work | 23.35 | 14.64 |  |  | 1.8 | 39.79 | 11539.1
14030267048 | 22 | Goods | 2D-600000-0-00-ZZ-ZZ-650 | Water Charges (Tankar Capacity-2000 ltrs) | Each | 8 | 500 | 4000 | Civil Work | [5 empty] | 8 | 4000
Not available In PO |  | Goods | 12-C00000-C-00-ZZ-ZZ-155 | HDPE pipe 2 inch - Capex | Meter |  | 92.5 | [6 empty] | 6 | 6 | 555
Not available In PO |  | Goods | 22-205930-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,2.5 Sq MM,3 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter |  | 136.52 | [6 empty] | 9.5 | 9.5 | 1296.94
Not available In PO |  | Goods | 22-2128P0-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,35 Sq MM,2 Core,Aluminum Armoured, HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter |  | 150.43 | [6 empty] | 10 | 10 | 1504.3
Not available In PO |  | Goods | 22-210AP0-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,16 Sq MM,4 Core,Aluminum Armoured, HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter |  | 139.18 | [6 empty] | 1.5 | 1.5 | 208.77
Not available In PO |  | Goods | 22-207A30-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,6 Sq MM,4 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter |  | 359.1 | [6 empty] | 5 | 5 | 1795.5
Not available In PO |  | Goods | 22-210830-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,16 Sq MM,2 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter |  | 419.31 | [6 empty] | 8 | 8 | 3354.48
Not available In PO |  | Goods | 22-212660-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,35 Sq MM,1 Core Black,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter |  | 387.24 | [6 empty] | 1.5 | 1.5 | 580.86
Not available In PO |  | Goods | 22-212760-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,35 Sq MM,1 Core Red,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter |  | 387.24 | [6 empty] | 2 | 2 | 774.48
Not available In PO |  | Goods | 22-210560-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,16 Sq MM,1 Core Green,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter |  | 177.46 | [6 empty] | 11.5 | 11.5 | 2040.79
Not available In PO |  | Goods | 28-600000-C-00-ZZ-ZZ-001 | Installation,Signage Board - Capex | Each |  | 50 | [6 empty] | 1 | 1 | 50
Not available In PO |  | Goods | 24-600000-0-00-ZZ-ZZ-604 | Door & Window Fitting Charges - Lock 7-liver (link,plaza,harison make) | Each |  | 265 | [6 empty] | 1 | 1 | 265
Not available In PO |  | Goods | 12-900000-0-01-ZZ-ZZ-026 | Krone BOX, 10 PAIR, Indoor,Version 1.0 | Each |  | 242 | [6 empty] | 1 | 1 | 242
Not available In PO |  | Goods | 22-201340-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,0.5 MM Dia,10 Pair,Annealed Tinned Copper single strand armoured(FRLS), Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories | Meter |  | 89.42 | [6 empty] | 2 | 2 | 178.84
Not available In PO |  | Goods | 14-200800-0-01-ZZ-ZZ-000 | MS Ladder and Platform,Version 1.0 | Kilogram |  | 85 | [6 empty] | 65 | 65 | 5525
Not available In PO |  | Goods | 12-154067-0-00-ZZ-ZZ-000 | ELCB,63A,4 Pole,30 mA | Each |  | 1397 | [6 empty] | 1 | 1 | 1397