## Sheet1
Line | Type | Item/Job | Item/Job | Supplier Item | Description | UOM | Qty | Price | Amount | Advance Amount | Advance Billed | Status | Reason | Site ID | Site Name | Site Address | Project Name | Task Name |  | Ship-To Location | Ship-To Location | Ship-To Location | Ship-To Location | UOM | Ship-To Location | Price | Ordered | Received | Invoiced | Received | Invoiced | Approved | Invoiced | Invoiced | Promised Date | Need-By Date | Payment Status | Status | Supplier Line | Split | Reason
11 | Goods | 25-100000-0-00-ZZ-ZZ-741 |  |  | Mechanical anchoring for M12 anchor bolt,(As per Indus Standards and Guidelines) | Each | 2 | 53 | 106 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Civil Work | [5 empty] | Each |  |  | 2
11 | Goods | 25-100000-0-00-ZZ-ZZ-741 |  |  | Mechanical anchoring for M12 anchor bolt,(As per Indus Standards and Guidelines) | Each | [12 empty] | 1 | Milestone | Mechanical anchoring for M12 anchor bolt,(As per Indus Standards and Guidelines) | GUW - Ahmedabad Warehouse |  | Each |  | 53 | 2 | [8 empty] | 2022-12-31 |  | Open
10 | Goods | 12-111027-0-00-ZZ-ZZ-000 |  |  | MCB,63A,1 Pole,10KA,C Curve compliant with IS 13947(Part 2):1993/ IEC-60947-2 | Each | 1 | 152 | 152 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Other Matl. (Serial) | [5 empty] | Each |  |  | 1
10 | Goods | 12-111027-0-00-ZZ-ZZ-000 |  |  | MCB,63A,1 Pole,10KA,C Curve compliant with IS 13947(Part 2):1993/ IEC-60947-2 | Each | [12 empty] | 1 | Milestone | MCB,63A,1 Pole,10KA,C Curve compliant with IS 13947(Part 2):1993/ IEC-60947-2 | GUW - Ahmedabad Warehouse |  | Each |  | 152 | 1 | [8 empty] | 2022-12-31 |  | Open
13 | Goods | 25-120000-0-00-ZZ-ZZ-404 |  |  | PCC with mix 1:4:8 (1-Cement : 4-Coarse sand : 8- 20/40mm stone aggregate) | CUBIC METER | 1 | 4275 | 4275 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Civil Work | [5 empty] | CUBIC METER |  |  | 1
13 | Goods | 25-120000-0-00-ZZ-ZZ-404 |  |  | PCC with mix 1:4:8 (1-Cement : 4-Coarse sand : 8- 20/40mm stone aggregate) | CUBIC METER | [12 empty] | 1 | Milestone | PCC with mix 1:4:8 (1-Cement : 4-Coarse sand : 8- 20/40mm stone aggregate) | GUW - Ahmedabad Warehouse |  | CUBIC METER |  | 4275 | 1 | [8 empty] | 2022-12-31 |  | Open
14 | Goods | 25-120000-0-00-ZZ-ZZ-406 |  |  | Plastering Charges(12mm thk) with 1:4 (1 cement : 2 fine sand +2 coarse sand) | Sq. Meter | 3.2 | 190 | 608 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Civil Work | [5 empty] | Sq. Meter |  |  | 3.2
14 | Goods | 25-120000-0-00-ZZ-ZZ-406 |  |  | Plastering Charges(12mm thk) with 1:4 (1 cement : 2 fine sand +2 coarse sand) | Sq. Meter | [12 empty] | 1 | Milestone | Plastering Charges(12mm thk) with 1:4 (1 cement : 2 fine sand +2 coarse sand) | GUW - Ahmedabad Warehouse |  | Sq. Meter |  | 190 | 3.2 | [8 empty] | 2022-12-31 |  | Open
15 | Goods | 29-100000-0-00-ZZ-ZZ-811 |  |  | Project Management Charges for Upgradation of Only Class B/C Material without outage on Existing Sites | Each | 1 | 1250 | 1250 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Civil Work | [5 empty] | Each |  |  | 1
15 | Goods | 29-100000-0-00-ZZ-ZZ-811 |  |  | Project Management Charges for Upgradation of Only Class B/C Material without outage on Existing Sites | Each | [12 empty] | 1 | Milestone | Project Management Charges for Upgradation of Only Class B/C Material without outage on Existing Sites | GUW - Ahmedabad Warehouse |  | Each |  | 1250 | 1 | [8 empty] | 2022-12-31 |  | Open
16 | Goods | 22-201240-0-03-ZZ-ZZ-000 |  |  | Supply & Laying of Cable,0.5 MM Dia,5 Pair,Annealed Tinned Copper single strand armoured(FRLS), Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories | Meter | 10 | 34 | 340 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Civil Work | [5 empty] | Meter |  |  | 10
16 | Goods | 22-201240-0-03-ZZ-ZZ-000 |  |  | Supply & Laying of Cable,0.5 MM Dia,5 Pair,Annealed Tinned Copper single strand armoured(FRLS), Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories | Meter | [12 empty] | 1 | Milestone | Supply & Laying of Cable,0.5 MM Dia,5 Pair,Annealed Tinned Copper single strand armoured(FRLS), Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories | GUW - Ahmedabad Warehouse |  | Meter |  | 34 | 10 | [8 empty] | 2022-12-31 |  | Open
17 | Goods | 22-208830-0-03-ZZ-ZZ-000 |  |  | Supply & Laying of Cable,10 Sq MM,2 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 15 | 310 | 4650 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Civil Work | [5 empty] | Meter |  |  | 15
17 | Goods | 22-208830-0-03-ZZ-ZZ-000 |  |  | Supply & Laying of Cable,10 Sq MM,2 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | [12 empty] | 1 | Milestone | Supply & Laying of Cable,10 Sq MM,2 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | GUW - Ahmedabad Warehouse |  | Meter |  | 310 | 15 | [8 empty] | 2022-12-31 |  | Open
18 | Goods | 22-210560-0-03-ZZ-ZZ-000 |  |  | Supply & Laying of Cable,16 Sq MM,1 Core Green,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 4 | 163 | 652 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Civil Work | [5 empty] | Meter |  |  | 4
18 | Goods | 22-210560-0-03-ZZ-ZZ-000 |  |  | Supply & Laying of Cable,16 Sq MM,1 Core Green,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | [12 empty] | 1 | Milestone | Supply & Laying of Cable,16 Sq MM,1 Core Green,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | GUW - Ahmedabad Warehouse |  | Meter |  | 163 | 4 | [8 empty] | 2022-12-31 |  | Open
19 | Goods | 22-212660-0-03-ZZ-ZZ-000 |  |  | Supply & Laying of Cable,35 Sq MM,1 Core Black,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 4 | 360 | 1440 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Civil Work | [5 empty] | Meter |  |  | 4
19 | Goods | 22-212660-0-03-ZZ-ZZ-000 |  |  | Supply & Laying of Cable,35 Sq MM,1 Core Black,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | [12 empty] | 1 | Milestone | Supply & Laying of Cable,35 Sq MM,1 Core Black,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | GUW - Ahmedabad Warehouse |  | Meter |  | 360 | 4 | [8 empty] | 2022-12-31 |  | Open
20 | Goods | 22-212760-0-03-ZZ-ZZ-000 |  |  | Supply & Laying of Cable,35 Sq MM,1 Core Red,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 4 | 360 | 1440 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Civil Work | [5 empty] | Meter |  |  | 4
20 | Goods | 22-212760-0-03-ZZ-ZZ-000 |  |  | Supply & Laying of Cable,35 Sq MM,1 Core Red,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | [12 empty] | 1 | Milestone | Supply & Laying of Cable,35 Sq MM,1 Core Red,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | GUW - Ahmedabad Warehouse |  | Meter |  | 360 | 4 | [8 empty] | 2022-12-31 |  | Open
21 | Goods | 29-400000-0-00-ZZ-ZZ-886 |  |  | Transportation from Indus WH to site for Minor upgrade site including unloading of material at site | Each | 1 | 1140 | 1140 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Other Services &Lots | [5 empty] | Each |  |  | 1
21 | Goods | 29-400000-0-00-ZZ-ZZ-886 |  |  | Transportation from Indus WH to site for Minor upgrade site including unloading of material at site | Each | [12 empty] | 1 | Milestone | Transportation from Indus WH to site for Minor upgrade site including unloading of material at site | GUW - Ahmedabad Warehouse |  | Each |  | 1140 | 1 | [8 empty] | 2022-12-31 |  | Open
22 | Goods | 2D-600000-0-00-ZZ-ZZ-650 |  |  | Water Charges (Tankar Capacity-2000 ltrs) | Each | 1 | 500 | 500 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Civil Work | [5 empty] | Each |  |  | 1
22 | Goods | 2D-600000-0-00-ZZ-ZZ-650 |  |  | Water Charges (Tankar Capacity-2000 ltrs) | Each | [12 empty] | 1 | Milestone | Water Charges (Tankar Capacity-2000 ltrs) | GUW - Ahmedabad Warehouse |  | Each |  | 500 | 1 | [8 empty] | 2022-12-31 |  | Open
9 | Goods | 25-210000-0-00-ZZ-ZZ-262 |  |  | Brick work with bricks class designation-105, in foundation up to DPC level in mortar mix 1:4(1 cement: 6-coarse sand) including all materials, labour, tools & plants etc. required for proper completion of work with minimum 6-days curing. | CUBIC METER | 1.2 | 4800 | 5760 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Civil Work | [5 empty] | CUBIC METER |  |  | 1.2
9 | Goods | 25-210000-0-00-ZZ-ZZ-262 |  |  | Brick work with bricks class designation-105, in foundation up to DPC level in mortar mix 1:4(1 cement: 6-coarse sand) including all materials, labour, tools & plants etc. required for proper completion of work with minimum 6-days curing. | CUBIC METER | [12 empty] | 1 | Milestone | Brick work with bricks class designation-105, in foundation up to DPC level in mortar mix 1:4(1 cement: 6-coarse sand) including all materials, labour, tools & plants etc. required for proper completion of work with minimum 6-days curing. | GUW - Ahmedabad Warehouse |  | CUBIC METER |  | 4800 | 1.2 | [8 empty] | 2022-12-31 |  | Open
1 | Goods | 12-422000-0-01-ZZ-ZZ-000 |  |  | Earthing, EGB GI Busbar, 300x150x6 with all installation accessories, Version 1.0 | Meter | 1 | 398 | 398 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Other Services &Lots | [5 empty] | Meter |  |  | 1
1 | Goods | 12-422000-0-01-ZZ-ZZ-000 |  |  | Earthing, EGB GI Busbar, 300x150x6 with all installation accessories, Version 1.0 | Meter | [12 empty] | 1 | Milestone | Earthing, EGB GI Busbar, 300x150x6 with all installation accessories, Version 1.0 | GUW - Ahmedabad Warehouse |  | Meter |  | 398 | 1 | [8 empty] | 2022-12-31 |  | Open
2 | Goods | 22-435000-0-00-ZZ-ZZ-654 |  |  | Earthing,GI strip (25x3) mm with all installation accessories,(As per Indus Standards and Guidelines) | Meter | 6 | 90 | 540 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Civil Work | [5 empty] | Meter |  |  | 6
2 | Goods | 22-435000-0-00-ZZ-ZZ-654 |  |  | Earthing,GI strip (25x3) mm with all installation accessories,(As per Indus Standards and Guidelines) | Meter | [12 empty] | 1 | Milestone | Earthing,GI strip (25x3) mm with all installation accessories,(As per Indus Standards and Guidelines) | GUW - Ahmedabad Warehouse |  | Meter |  | 90 | 6 | [8 empty] | 2022-12-31 |  | Open
3 | Goods | 22-434000-0-00-ZZ-ZZ-653 |  |  | Earthing,GI strip (25x6) mm with all installation accessories,(As per Indus Standards and Guidelines) | Meter | 5 | 140 | 700 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Civil Work | [5 empty] | Meter |  |  | 5
3 | Goods | 22-434000-0-00-ZZ-ZZ-653 |  |  | Earthing,GI strip (25x6) mm with all installation accessories,(As per Indus Standards and Guidelines) | Meter | [12 empty] | 1 | Milestone | Earthing,GI strip (25x6) mm with all installation accessories,(As per Indus Standards and Guidelines) | GUW - Ahmedabad Warehouse |  | Meter |  | 140 | 5 | [8 empty] | 2022-12-31 |  | Open
4 | Goods | 2A-300000-0-00-ZZ-ZZ-171 |  |  | Installation & Commissioning of Micro Cooling Rack ID Type for Tx Equipment - 12 U, 19" - 500 Watts, DC-48 V, 100 CFM - Installation | Each | 1 | 2000 | 2000 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Civil Work | [5 empty] | Each |  |  | 1
4 | Goods | 2A-300000-0-00-ZZ-ZZ-171 |  |  | Installation & Commissioning of Micro Cooling Rack ID Type for Tx Equipment - 12 U, 19" - 500 Watts, DC-48 V, 100 CFM - Installation | Each | [12 empty] | 1 | Milestone | Installation & Commissioning of Micro Cooling Rack ID Type for Tx Equipment - 12 U, 19" - 500 Watts, DC-48 V, 100 CFM - Installation | GUW - Ahmedabad Warehouse |  | Each |  | 2000 | 1 | [8 empty] | 2022-12-31 |  | Open
5 | Goods | 21-320400-0-00-ZZ-ZZ-064 |  |  | Installation, DCDB, 8 way, (Indoor/Outdoor) installation charges including laying of cables and all accessories (bolts used for DCDB, cable ties etc.) | Each | 1 | 1000 | 1000 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Other Services &Lots | [5 empty] | Each |  |  | 1
5 | Goods | 21-320400-0-00-ZZ-ZZ-064 |  |  | Installation, DCDB, 8 way, (Indoor/Outdoor) installation charges including laying of cables and all accessories (bolts used for DCDB, cable ties etc.) | Each | [12 empty] | 1 | Milestone | Installation, DCDB, 8 way, (Indoor/Outdoor) installation charges including laying of cables and all accessories (bolts used for DCDB, cable ties etc.) | GUW - Ahmedabad Warehouse |  | Each |  | 1000 | 1 | [8 empty] | 2022-12-31 |  | Open
6 | Goods | 24-200000-0-00-ZZ-ZZ-147 |  |  | Installation,CABLE TRAY | Each | 1 | 200 | 200 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Civil Work | [5 empty] | Each |  |  | 1
6 | Goods | 24-200000-0-00-ZZ-ZZ-147 |  |  | Installation,CABLE TRAY | Each | [12 empty] | 1 | Milestone | Installation,CABLE TRAY | GUW - Ahmedabad Warehouse |  | Each |  | 200 | 1 | [8 empty] | 2022-12-31 |  | Open
7 | Goods | 29-400000-0-00-ZZ-ZZ-806 |  |  | Loading/unloading by use of chain pulley | Each | 1 | 3500 | 3500 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Other Services &Lots | [5 empty] | Each |  |  | 1
7 | Goods | 29-400000-0-00-ZZ-ZZ-806 |  |  | Loading/unloading by use of chain pulley | Each | [12 empty] | 1 | Milestone | Loading/unloading by use of chain pulley | GUW - Ahmedabad Warehouse |  | Each |  | 3500 | 1 | [8 empty] | 2022-12-31 |  | Open
8 | Goods | 12-111025-0-00-ZZ-ZZ-000 |  |  | MCB,32A,1 Pole,C Curve | Each | 1 | 80 | 80 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Other Matl. (Serial) | [5 empty] | Each |  |  | 1
8 | Goods | 12-111025-0-00-ZZ-ZZ-000 |  |  | MCB,32A,1 Pole,C Curve | Each | [12 empty] | 1 | Milestone | MCB,32A,1 Pole,C Curve | GUW - Ahmedabad Warehouse |  | Each |  | 80 | 1 | [8 empty] | 2022-12-31 |  | Open
12 | Goods | 25-1B0000-0-00-ZZ-ZZ-621 |  |  | P&L Earth filling taking from out side and free from vegitation mud rocks etc, in layer 15-20cm and each layer consolidated / compacted up to max level by dressing, watering and ramming. | CUBIC METER | 1.3 | 239 | 310.7 |  |  | Open |  | IN-1039718 | EVIRVIRAMGAM1 | Nr.Lions Hospital,Mandal Road,Viramgam | R/RL-5831455 | Civil Work | [5 empty] | CUBIC METER |  |  | 1.3
12 | Goods | 25-1B0000-0-00-ZZ-ZZ-621 |  |  | P&L Earth filling taking from out side and free from vegitation mud rocks etc, in layer 15-20cm and each layer consolidated / compacted up to max level by dressing, watering and ramming. | CUBIC METER | [12 empty] | 1 | Milestone | P&L Earth filling taking from out side and free from vegitation mud rocks etc, in layer 15-20cm and each layer consolidated / compacted up to max level by dressing, watering and ramming. | GUW - Ahmedabad Warehouse |  | CUBIC METER |  | 239 | 1.3 | [8 empty] | 2022-12-31 |  | Open