## Sheet1
PO | Line | Type | Item/Job | Description | UOM | Qty | Price | Amount | E1 | Qty total
14030265989 | 1 | Goods | 2B-300000-0-00-ZZ-ZZ-473 | Supply of EB Material for Line Erection - Installation | Each | 1 | 6250 | 6250 | 1 | 1
14030265989 | 5 | Goods | 22-300000-C-00-ZZ-ZZ-A17 | Installation charges of Meter Box - Capex | Each | 1 | 4770 | 4770 | 1 | 1
14030265989 | 4 | Goods | 12-900000-0-01-ZZ-ZZ-024 | Mounting Frame for EB Meter Box,Version 1.0 | Each | 2 | 530 | 1060 | 1 | 1
14030267506 | 51 | Goods | 12-C00000-0-01-ZZ-ZZ-136 | PLB HDPE Pipe - OD 40mm, 3.5mm Thk (For OFC Duct),Version 1.0 | Meter | 90 | 94 | 8460 | 2.5 | 53.5
14030267506 | 33 | Goods | 22-610000-0-00-ZZ-ZZ-469 | Supply & Installation Charges,Lightening Arrestor,Lightening Protection | Each | 1 | 1600 | 1600 | 1 | 1
14030267506 | 26 | Goods | 22-201250-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,0.5 MM Dia,5 Pair,Annealed Tinned Copper single strand Unarmoured(FRLS), Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories | Meter | 25 | 33 | 825 | 17 | 17
14030267506 | 19 | Goods | 22-210560-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,16 Sq MM,1 Core Green,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 20 | 171 | 3420 | 12.5 | 12.5
14030267506 | 20 | Goods | 22-210830-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,16 Sq MM,2 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 15 | 480 | 7200 | 9.5 | 9.5
14030267506 | 18 | Goods | 22-205830-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,2.5 Sq MM,2 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 15 | 122 | 1830 | 7 | 7
14030267506 | 58 | Goods | 24-200000-0-00-ZZ-ZZ-147 | Installation,CABLE TRAY | Each | 1 | 200 | 200 | 14 | 14
14030267506 | 32 | Goods | 28-600000-C-00-ZZ-ZZ-001 | Installation,Signage Board - Capex | Each | 1 | 50 | 50 | 1 | 1
14030267506 | 65 | Goods | 12-1242E9-C-00-ZZ-ZZ-000 | MCCB,100A,4 Pole,25KA,Magnetic Thermal Release Including Spreader Links,compliant with IS 13947(Part 2):1993/ IEC-60947-2, Capex | Each | 1 | 2365 | 2365 | 1 | 1
14030267506 | 3 | Goods | 12-111026-0-00-ZZ-ZZ-000 | MCB,40A,1 Pole,C Curve | Each | 1 | 143 | 143 | 1 | 1
14030267506 | 6 | Goods | 12-120000-0-00-ZZ-ZZ-001 | MCCB Box | Each | 3 | 880 | 2640 | 1 | 1
14030267506 | 23 | Goods | 22-214760-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,70 Sq MM,1 Core Red,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 5 | 770 | 3850 | 4.5 | 4.5
14030267506 | 1 | Goods | 12-900000-0-01-ZZ-ZZ-020 | 5/15 Amps Switch & Socket Assembly - OD Type,Version 1.0 | Each | 1 | 460 | 460 | 1 | 1
14030267506 | 60 | Goods | 2A-600000-C-00-ZZ-ZZ-168 | Alarm termination Charges - Capex | Each | 1 | 1000 | 1000 | 1 | 1
14030267506 | 7 | Goods | 12-C00000-0-01-ZZ-ZZ-012 | Conduit - PVC 32 mm Flexible (ISI Mark),Version 1.0 | Meter | 30 | 48 | 1440 | 26 | 26
14030267506 | 10 | Goods | 12-154067-0-00-ZZ-ZZ-000 | ELCB,63A,4 Pole,30 mA | Each | 1 | 1397 | 1397 | 1 | 1
14030267506 | 34 | Goods | 12-422000-0-01-ZZ-ZZ-000 | Earthing, EGB GI Busbar, 300x150x6 with all installation accessories, Version 1.0 | Meter | 2 | 398 | 796 | 2 | 2
14030267506 | 21 | Goods | 22-205930-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,2.5 Sq MM,3 Core,Copper Armoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 15 | 152 | 2280 | 2 | 2
14030267506 | 17 | Goods | 22-211AP0-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,25 Sq MM,4 Core,Aluminum Armoured, HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 25 | 234 | 5850 | 9.5 | 9.5
14030267506 | 31 | Goods | 22-212AP0-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,35 Sq MM,4 Core,Aluminum Armoured, HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 10 | 299 | 2990 | 4 | 4
14030267506 | 22 | Goods | 22-214660-0-03-ZZ-ZZ-000 | Supply & Laying of Cable,70 Sq MM,1 Core Black,Copper Unarmoured Multi strand HRFR, Version 3.0 incldg Termination with Lugs, Saddles, Cable ties, Insulation tape, Glands & other installation accessories as per Indus Standard Guidelines | Meter | 5 | 770 | 3850 | 5 | 5
14030267506 | 48 | Goods | 22-600000-0-00-ZZ-ZZ-848 | Installation and Commisioning of SPD Box including end termination of cables (As per Indus Standards and Guidelines) | Each | 1 | 500 | 500 | 1 | 1
14030267506 | 50 | Goods | 21-600000-0-00-ZZ-ZZ-706 | Installation, Commissioning & Testing of SMPS,(As per Indus Standards and Guidelines) | Each | 1 | 1200 | 1200 | 1 | 1
14030267506 | 54 | Goods | 21-320400-0-00-ZZ-ZZ-064 | Installation, DCDB, 8 way, (Indoor/Outdoor) installation charges including laying of cables and all accessories (bolts used for DCDB, cable ties etc.) | Each | 1 | 1000 | 1000 | 1 | 1
14030267506 | 57 | Goods | 21-390000-0-00-ZZ-ZZ-712 | Installation, Grouting, Earthing Commisioning testing of Power Panel -SP including end termination of power cables using glands and lugs including coordination with Panel OEM,(As per Indus Standards and Guidelines) | Each | 1 | 1000 | 1000 | 1 | 1
14030267506 | 55 | Goods | 24-500000-0-00-ZZ-ZZ-704 | Installation, Grouting, Earthing and Commissioning of OD BB Cabinet,(As per Indus Standards and Guidelines) | Each | 1 | 1500 | 1500 | 1 | 2.6667
14030267506 | 63 | Goods | 22-435000-0-00-ZZ-ZZ-654 | Earthing,GI strip (25x3) mm with all installation accessories,(As per Indus Standards and Guidelines) | Meter | 110 | 90 | 9900 | 77 | 77
14030269412 | 11 | Goods | 24-600000-0-00-ZZ-ZZ-604 | Door & Window Fitting Charges - Lock 7-liver (link,plaza,harison make) | Each | 3 | 265 | 795 | 6 | 6
14030269412 | 13 | Goods | 12-433000-0-01-ZZ-ZZ-000 | Earthing,GI strip,50x6 with all installation accessories,Version 1.0 | Meter | 2 | 250 | 500 | 1 | 1
14030269412 | 12 | Goods | 21-D00000-0-00-ZZ-ZZ-705 | Installation, Grouting, Earthing & Commissioning & OD TX Rack,(As per Indus Standards and Guidelines) | Each | 1 | 200 | 200 | 1 | 1
14030269412 | 15 | Goods | 12-900000-0-01-ZZ-ZZ-026 | Krone BOX, 10 PAIR, Indoor,Version 1.0 | Each | 1 | 242 | 242 | 2 | 2
14030269412 | 8 | Goods | 25-100000-0-00-ZZ-ZZ-740 | Mechanical anchoring for M10 anchor bolt,(As per Indus Standards and Guidelines) | Each | 25 | 53 | 1325 | 14 | 14
14030269412 | 17 | Goods | 24-900000-C-00-ZZ-ZZ-F08 | Mount Installation Charges per mount (for 1st mount per site, Only 1 quantity allowed) - Capex | Each | 1 | 1500 | 1500 | 1 | 1